## Drift Raw data
↑タイトル入力 | [15 empty] | 不要なサンプルはこの列を選んで表示を消すこと | [13 empty] | 不要なサンプルはこの列を選んで表示を消すこと | [13 empty] | 不要なサンプルはこの列を選んで表示を消すこと | [13 empty] | 不要なサンプルはこの列を選んで表示を消すこと | [13 empty] | 不要なサンプルはこの列を選んで表示を消すこと
[16 empty] | If no need this sample then select these column and disappear | [13 empty] | If no need this sample then select these column and disappear | [13 empty] | If no need this sample then select these column and disappear | [13 empty] | If no need this sample then select these column and disappear | [13 empty] | If no need this sample then select these column and disappear
| 測定値 | [14 empty] | 測定値 | [13 empty] | 測定値 | [13 empty] | 測定値 | [13 empty] | 測定値 | [13 empty] | 測定値
| Measured data |  |  | CS2000 S/N:1001060 | [11 empty] | Measured data |  | CS2000 S/N:1001090 | [11 empty] | Measured data |  | CS2000 S/N:1001090 | [11 empty] | Measured data |  | CS2000 S/N:1001090 | [11 empty] | Measured data |  | CS2000 S/N:1001090 | [11 empty] | Measured data |  | CS2000 S/N:1001090
| 測定間隔(h) |  | measured date & time |  | 20IRE |  |  | 100IRE |  |  |  |  | delta Lv <=0.1% /2h |  |  | 測定間隔(h) | measured date & time |  | 20IRE |  |  | 100IRE |  |  |  |  | delta Lv <=0.1% /2h |  |  | 測定間隔(h) | measured date & time |  | 20IRE |  |  | 100IRE |  |  |  |  | delta Lv <=0.1% /2h |  |  | 測定間隔(h) | measured date & time |  | 20IRE |  |  | 100IRE |  |  |  |  | delta Lv <=0.1% /2h |  |  | 測定間隔(h) | measured date & time |  | 20IRE |  |  | 100IRE |  |  |  |  | delta Lv <=0.1% /2h |  |  | 測定間隔(h) | measured date & time |  | 20IRE |  |  | 100IRE |  |  |  |  | delta Lv <=0.1% /2h
| Measurement Interval (h) |  | ↓Start日時を記入 | Elapsed time | x | y | Lv | x | y | Lv | u' | v' | till 300h |  |  | Measurement Interval (h) | ↓Start日時を記入 | Elapsed time | x | y | Lv | x | y | Lv | u' | v' | till 300h |  |  | Measurement Interval (h) | ↓Start日時を記入 | Elapsed time | x | y | Lv | x | y | Lv | u' | v' | till 300h |  |  | Measurement Interval (h) | ↓Start日時を記入 | Elapsed time | x | y | Lv | x | y | Lv | u' | v' | till 300h |  |  | Measurement Interval (h) | ↓Start日時を記入 | Elapsed time | x | y | Lv | x | y | Lv | u' | v' | till 300h |  |  | Measurement Interval (h) | ↓Start日時を記入 | Elapsed time | x | y | Lv | x | y | Lv | u' | v' | till 300h
| 0 | 0:00 | 2019-11-14 14:19 | 0Hr. | 0.2829 | 0.29437 | 19.141 | 0.2928 | 0.3199 | 670.45 | 0.1873 | 0.46042 |  | <=0.1% /2h? | judge | 0 | 2018-11-28 09:06 | 0Hr. | 0.291 | 0.3233 | 13 | 0.2954 | 0.3261 | 665.99 | 0.18689 | 0.46421 |  | <=0.1% /2h? | judge | 0 | 2018-11-28 09:05 | 0Hr. | [6 empty] | 0 | 0 |  | <=0.1% /2h? | judge | 0 | 2017-07-21 11:00 | 0Hr. | [6 empty] | 0 | 0 |  | <=0.1% /2h? | judge | 0 | 2017-11-24 10:26 | 0Hr. | [6 empty] | 0 | 0 |  | <=0.1% /2h? | judge | 0 | 2017-11-21 13:00 | 0Hr. | [6 empty] | 0 | 0 |  | <=0.1% /2h? | judge
| 0.033333 | 0:00 | 2019-11-14 14:21 | 2min | [6 empty] | 0 | 0 | #VALUE! | 1 | 0 | 0.033333 | 2018-11-28 09:08 | 2min | [6 empty] | 0 | 0 | #VALUE! | 1 | 0 | 0.033333 | 2018-11-28 09:07 | 2min | [6 empty] | 0 | 0 | #VALUE! | 1 | 0 | 0.033333 | 2017-07-21 11:02 | 2min | [6 empty] | 0 | 0 | #VALUE! | 1 | 0 | 0.033333 | 2017-11-24 10:28 | 2min | [6 empty] | 0 | 0 | #VALUE! | 1 | 0 | 0.033333 | 2017-11-21 13:02 | 2min | [6 empty] | 0 | 0 | #VALUE! | 1 | 0
⇒ここに測定間隔を入力する、48hは必須測定 | 0.083333 | 0:05 | 2019-11-14 14:24 | 5min |  |  |  | 0.2786 | 0.28907 | 774.2 | 0.18851 | 0.44008 | 321.6% | 1 | 0 | 0.083333 | 2018-11-28 09:11 | 5min |  |  |  | 0.279 | 0.287 | 766 | 0.1896 | 0.43884 | 313.3% | 1 | 0 | 0.083333 | 2018-11-28 09:10 | 5min | [6 empty] | 0 | 0 | #VALUE! | 1 | 0 | 0.083333 | 2017-07-21 11:05 | 5min | [6 empty] | 0 | 0 | #VALUE! | 1 | 0 | 0.083333 | 2017-11-24 10:31 | 5min | [6 empty] | 0 | 0 | #VALUE! | 1 | 0 | 0.083333 | 2017-11-21 13:05 | 5min | [6 empty] | 0 | 0 | #VALUE! | 1 | 0
| 0.16667 | 1:00 | 2019-11-14 14:29 | 10min | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 0.16667 | 2018-11-28 09:16 | 10min | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 0.16667 | 2018-11-28 09:15 | 10min | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 0.16667 | 2017-07-21 11:10 | 10min | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 0.16667 | 2017-11-24 10:36 | 10min | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 0.16667 | 2017-11-21 13:10 | 10min | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0
| 0.33333 | 0:00 | 2019-11-14 14:39 | 20min | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 0.33333 | 2018-11-28 09:26 | 20min | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 0.33333 | 2018-11-28 09:25 | 20min | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 0.33333 | 2017-07-21 11:20 | 20min | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 0.33333 | 2017-11-24 10:46 | 20min | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 0.33333 | 2017-11-21 13:20 | 20min | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0
| 0.5 | 0:00 | 2019-11-14 14:49 | 30min | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 0.5 | 2018-11-28 09:36 | 30min | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 0.5 | 2018-11-28 09:35 | 30min | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 0.5 | 2017-07-21 11:30 | 30min | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 0.5 | 2017-11-24 10:56 | 30min | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 0.5 | 2017-11-21 13:30 | 30min | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0
| 1 | 1:00 | 2019-11-14 15:19 | 1Hr. |  |  |  | 0.276 | 0.283 | 753 | 0.18891 | 0.43583 | 6.143% | 1 | 0 | 1 | 2018-11-28 10:06 | 1Hr. |  |  |  | 0.2766 | 0.2829 | 758.3433 | 0.1894 | 0.43586 | 2.203% | 1 | 0 | 1 | 2018-11-28 10:05 | 1Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 1 | 2017-07-21 12:00 | 1Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 1 | 2017-11-24 11:26 | 1Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 1 | 2017-11-21 14:00 | 1Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0
| 2 | 2:00 | 2019-11-14 16:19 | 2Hr. |  |  |  | 0.275 | 0.282 | 754 | 0.18855 | 0.43504 | 0.2653% | 1 | 0 | 2 | 2018-11-28 11:06 | 2Hr. |  |  |  | 0.276 | 0.282 | 759 | 0.1893 | 0.43519 | 0.173% | 1 | 0 | 2 | 2018-11-28 11:05 | 2Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 2 | 2017-07-21 13:00 | 2Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 2 | 2017-11-24 12:26 | 2Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 2 | 2017-11-21 15:00 | 2Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0
| 4 | 4:00 | 2019-11-14 18:19 | 4Hr. |  |  |  | 0.275 | 0.281 | 755 | 0.18894 | 0.43439 | 0.1325% | 1 | 0 | 4 | 2018-11-28 13:06 | 4Hr. |  |  |  | 0.276 | 0.281 | 759 | 0.18969 | 0.43454 | 0% | 0 | 0 | 4 | 2018-11-28 13:05 | 4Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 4 | 2017-07-21 15:00 | 4Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 4 | 2017-11-24 14:26 | 4Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 4 | 2017-11-21 17:00 | 4Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0
| 8 | 8:00 | 2019-11-14 22:19 | 8Hr. |  |  |  | 0.274 | 0.28 | 753 | 0.18858 | 0.43359 | 0.1328% | 1 | 0 | 8 | 2018-11-28 17:06 | 8Hr. |  |  |  | 0.275 | 0.28 | 759 | 0.18933 | 0.43373 | 0% | 0 | 0 | 8 | 2018-11-28 17:05 | 8Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 8 | 2017-07-21 19:00 | 8Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 8 | 2017-11-24 18:26 | 8Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 8 | 2017-11-21 21:00 | 8Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0
| 12 | 12:00 | 2019-11-15 02:19 | 12Hr. |  |  |  | 0.274 | 0.279 | 758 | 0.18897 | 0.43293 | 0.3298% | 1 | 0 | 12 | 2018-11-28 21:06 | 12Hr. |  |  |  | 0.275 | 0.28 | 763 | 0.18933 | 0.43373 | 0.2621% | 1 | 0 | 12 | 2018-11-28 21:05 | 12Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 12 | 2017-07-21 23:00 | 12Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 12 | 2017-11-24 22:26 | 12Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 12 | 2017-11-22 01:00 | 12Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0
| 24 | 24:00 | 2019-11-15 14:19 | 24Hr. |  |  |  | 0.273 | 0.278 | 756 | 0.1886 | 0.43212 | 0.04409% | 0 | 1 | 24 | 2018-11-29 09:06 | 24Hr. |  |  |  | 0.274 | 0.278 | 762 | 0.18936 | 0.43227 | 0.02187% | 0 | 1 | 24 | 2018-11-29 09:05 | 24Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 24 | 2017-07-22 11:00 | 24Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 36.5 | 2017-11-25 22:56 | 36.5Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 24 | 2017-11-22 13:00 | 24Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0
| 48 | 48:00 | 2019-11-16 14:19 | 48Hr. | 0.279 | 0.287 | 19.2 | 0.273 | 0.277 | 756 | 0.18899 | 0.43146 | 0% | 0 | 1 | 48 | 2018-11-30 09:06 | 48Hr. | 0.286 | 0.295 | 19.4 | 0.273 | 0.277 | 763 | 0.18899 | 0.43146 | 0.01092% | 0 | 1 | 48 | 2018-11-30 09:05 | 48Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 48 | 2017-07-23 11:00 | 48Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 48 | 2017-11-26 10:26 | 48Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 48 | 2017-11-23 13:00 | 48Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0
| 72 | 72:00 | 2019-11-17 14:19 | 72Hr. |  |  |  | 0.272 | 0.277 | 760 | 0.18824 | 0.43131 | 0.04386% | 0 | 1 | 72 | 2018-12-01 09:06 | 72Hr. |  |  |  | 0.273 | 0.277 | 763 | 0.18899 | 0.43146 | 0% | 0 | 1 | 72 | 2018-12-01 09:05 | 72Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 72 | 2017-07-24 11:00 | 72Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 72 | 2017-11-27 10:26 | 72Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 72 | 2017-11-24 13:00 | 72Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0
| 100 | 100:00 | 2019-11-18 18:19 | 100Hr. |  |  |  | 0.272 | 0.276 | 758 | 0.18863 | 0.43065 | 0.01015% | 0 | 1 | 100 | 2018-12-02 13:06 | 100Hr. |  |  |  | 0.273 | 0.277 | 767 | 0.18899 | 0.43146 | 0.02006% | 0 | 1 | 100 | 2018-12-02 13:05 | 100Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 100 | 2017-07-25 15:00 | 100Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 100 | 2017-11-28 14:26 | 100Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 100 | 2017-11-25 17:00 | 100Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0
| 168 | 168:00 | 2019-11-21 14:19 | 168Hr. |  |  |  | 0.272 | 0.276 | 763 | 0.18863 | 0.43065 | 0.01927% | 0 | 1 | 168 | 2018-12-05 09:06 | 168Hr. |  |  |  | 0.272 | 0.276 | 764 | 0.18863 | 0.43065 | 0.01155% | 0 | 1 | 168 | 2018-12-05 09:05 | 168Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 168 | 2017-07-28 11:00 | 168Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 168 | 2017-12-01 10:26 | 168Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 140 | 2017-11-27 09:00 | 140Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0
| 196 | 196:00 | 2019-11-22 18:19 | 196Hr. |  |  |  | 0.272 | 0.275 | 759 | 0.18902 | 0.42999 | 0.03764% | 0 | 1 | 196 | 2018-12-06 13:06 | 196Hr. |  |  |  | 0.2725 | 0.2757 | 764.8133 | 0.18912 | 0.43053 | 0.007596% | 0 | 1 | 200 | 2018-12-06 17:05 | 200Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 200 | 2017-07-29 19:00 | 200Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 200 | 2017-12-02 18:26 | 200Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 200 | 2017-11-29 21:00 | 200Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0
| 216 | 216:00 | 2019-11-23 14:19 | 216Hr. |  |  |  | 0.271 | 0.275 | 761 | 0.18826 | 0.42984 | 0.02628% | 0 | 1 | 216 | 2018-12-07 09:06 | 216Hr. |  |  |  | 0.272 | 0.276 | 765 | 0.18863 | 0.43065 | 0.002441% | 0 | 1 | 250 | 2018-12-08 19:05 | 250Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 250 | 2017-07-31 21:00 | 250Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 250 | 2017-12-04 20:26 | 250Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 250 | 2017-12-01 23:00 | 250Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0
| 264 | 264:00 | 2019-11-25 14:19 | 264Hr. |  |  |  | 0.2713 | 0.2752 | 765.2167 | 0.18841 | 0.43001 | 0.02296% | 0 | 0 | 264 | 2018-12-09 09:06 | 264Hr. |  |  |  | 0.273 | 0.276 | 774 | 0.18939 | 0.4308 | 0.04845% | 0 | 0 | 300 | 2018-12-10 21:05 | 300Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 300 | 2017-08-02 23:00 | 300Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 300 | 2017-12-06 22:26 | 300Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 300 | 2017-12-04 01:00 | 300Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0
| 300 | 300:00 | 2019-11-27 02:19 | 300Hr. |  |  |  | 0.2713 | 0.2752 | 763.89 | 0.18841 | 0.43001 | 0.009649% | 0 | 0 | 300 | 2018-12-10 21:06 | 300Hr. |  |  |  | 0.2721 | 0.2753 | 768.7767 | 0.18898 | 0.4302 | 0.03775% | 0 | 0 | 400 | 2018-12-15 01:05 | 400Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 400 | 2017-08-07 03:00 | 400Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 400 | 2017-12-11 02:26 | 400Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 400 | 2017-12-08 05:00 | 400Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0
| 336 | 336:00 | 2019-11-28 14:19 | 336Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 336 | 2018-12-12 09:06 | 336Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 500 | 2018-12-19 05:05 | 500Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 500 | 2017-08-11 07:00 | 500Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 500 | 2017-12-15 06:26 | 500Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 500 | 2017-12-12 09:00 | 500Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0
| 408 | 408:00 | 2019-12-01 14:19 | 408Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 408 | 2018-12-15 09:06 | 408Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 700 | 2018-12-27 13:05 | 700Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 700 | 2017-08-19 15:00 | 700Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 700 | 2017-12-23 14:26 | 700Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 700 | 2017-12-20 17:00 | 700Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0
| 504 | 504:00 | 2019-12-05 14:19 | 504Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 504 | 2018-12-19 09:06 | 504Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 1000 | 2019-01-09 01:05 | 1000Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 1000 | 2017-09-01 03:00 | 1000Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 1000 | 2018-01-05 02:26 | 1000Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 1000 | 2018-01-02 05:00 | 1000Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0
| 600 | 600:00 | 2019-12-09 14:19 | 600Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 600 | 2018-12-23 09:06 | 600Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 1500 | 2019-01-29 21:05 | 1500Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 1500 | 2017-09-21 23:00 | 1500Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 1500 | 2018-01-25 22:26 | 1500Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 1500 | 2018-01-23 01:00 | 1500Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0
| 720 | 720:00 | 2019-12-14 14:19 | 720Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 720 | 2018-12-28 09:06 | 720Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 2000 | 2019-02-19 17:05 | 2000Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 2000 | 2017-10-12 19:00 | 2000Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 2000 | 2018-02-15 18:26 | 2000Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 2000 | 2018-02-12 21:00 | 2000Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0
| 792 | 792:00 | 2019-12-17 14:19 | 792Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 792 | 2018-12-31 09:06 | 792Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 2500 | 2019-03-12 13:05 | 2500Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 2500 | 2017-11-02 15:00 | 2500Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 2500 | 2018-03-08 14:26 | 2500Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 2500 | 2018-03-05 17:00 | 2500Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0
| 840 | 840:00 | 2019-12-19 14:19 | 840Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 840 | 2019-01-02 09:06 | 840Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 3000 | 2019-04-02 09:05 | 3000Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 3000 | 2017-11-23 11:00 | 3000Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 3000 | 2018-03-29 10:26 | 3000Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 3000 | 2018-03-26 13:00 | 3000Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0
| 912 | 912:00 | 2019-12-22 14:19 | 912Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 912 | 2019-01-05 09:06 | 912Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 4000 | 2019-05-14 01:05 | 4000Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 4000 | 2018-01-04 03:00 | 4000Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 4000 | 2018-05-10 02:26 | 4000Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 4000 | 2018-05-07 05:00 | 4000Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0
| 5000 | 5000:00 | 2020-06-09 22:19 | 5000Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 5000 | 2019-06-24 17:06 | 5000Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 5000 | 2019-06-24 17:05 | 5000Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 5000 | 2018-02-14 19:00 | 5000Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 5000 | 2018-06-20 18:26 | 5000Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 5000 | 2018-06-17 21:00 | 5000Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0
| 7000 | 7000:00 | 2020-09-01 06:19 | 7000Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 7000 | 2019-09-16 01:06 | 7000Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 7000 | 2019-09-16 01:05 | 7000Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 7000 | 2018-05-09 03:00 | 7000Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 7000 | 2018-09-12 02:26 | 7000Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 7000 | 2018-09-09 05:00 | 7000Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0
| 10000 | 10000:00 | 2021-01-04 06:19 | 10000Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 10000 | 2020-01-19 01:06 | 10000Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 10000 | 2020-01-19 01:05 | 10000Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 10000 | 2018-09-11 03:00 | 10000Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 10000 | 2019-01-15 02:26 | 10000Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 10000 | 2019-01-12 05:00 | 10000Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0
| 15000 | 15000:00 | 2021-07-31 14:19 | 15000Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 15000 | 2020-08-14 09:06 | 15000Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 15000 | 2020-08-14 09:05 | 15000Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 15000 | 2019-04-07 11:00 | 15000Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 15000 | 2019-08-11 10:26 | 15000Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 15000 | 2019-08-08 13:00 | 15000Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0
| 20000 | 20000:00 | 2022-02-24 22:19 | 20000Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 20000 | 2021-03-10 17:06 | 20000Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 20000 | 2021-03-10 17:05 | 20000Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 20000 | 2019-11-01 19:00 | 20000Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 20000 | 2020-03-06 18:26 | 20000Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 20000 | 2020-03-03 21:00 | 20000Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0
| 25000 | 1041.6667 | 2022-09-21 06:19 | 25000Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 25000 | 2021-10-05 01:06 | 25000Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 25000 | 2021-10-05 01:05 | 25000Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 25000 | 2020-05-28 03:00 | 25000Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 25000 | 2020-10-01 02:26 | 25000Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 25000 | 2020-09-28 05:00 | 25000Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0
| 30000 | 1250 | 2023-04-17 14:19 | 30000Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 30000 | 2022-05-01 09:06 | 30000Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 30000 | 2022-05-01 09:05 | 30000Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 30000 | 2020-12-22 11:00 | 30000Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 30000 | 2021-04-27 10:26 | 30000Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 30000 | 2021-04-24 13:00 | 30000Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0
| 40000 | 1666.6667 | 2024-06-07 06:19 | 40000Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 40000 | 2023-06-22 01:06 | 40000Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 40000 | 2023-06-22 01:05 | 40000Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 40000 | 2022-02-12 03:00 | 40000Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 40000 | 2022-06-18 02:26 | 40000Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 40000 | 2022-06-15 05:00 | 40000Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0
| 50000 | 2083.3333 | 2025-07-28 22:19 | 50000Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 50000 | 2024-08-11 17:06 | 50000Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 50000 | 2024-08-11 17:05 | 50000Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 50000 | 2023-04-04 19:00 | 50000Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 50000 | 2023-08-08 18:26 | 50000Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0 | 50000 | 2023-08-05 21:00 | 50000Hr. | [6 empty] | 0 | 0 | #DIV/0! | 1 | 0
memo
| 0:00 | 0
| 0:05 | 0.0034722
| 1:00 | 0.041667
|  |  |  | xxh | xxhではない | xxh相対位置 | xxh 値 | xxh以下最大値相対位置 | xxh以下最大値 | xxhかxxh以下最大値か |  | 12h or 8h or 24h ?
|  |  |  | 12 | FALSE | 9 | 0.274 | 9 | 0.274 | 0 |  | 12
|  |  |  | 48 | FALSE | 11 | 0 | 11 | -0.2631 | 0
|  |  |  | 100 | FALSE | 13 | 0.272 | 13 | 0.272 | 0
|  |  | 差分計算 | [13 empty] | 差分計算 | [13 empty] | 差分計算 | [13 empty] | 差分計算 | [13 empty] | 差分計算 | [13 empty] | 差分計算
| 変化量 |  |  | 0 | [11 empty] | 変化量 |  | 0 | [11 empty] | 変化量 |  | 0 | [11 empty] | 変化量 |  | 0 | [11 empty] | 変化量 |  | 0 | [11 empty] | 変化量 |  | 0
| Variation | [14 empty] | Variation | [13 empty] | Variation | [13 empty] | Variation | [13 empty] | Variation | [13 empty] | Variation
[5 empty] | 20IRE |  |  | 100IRE | [10 empty] | 20IRE |  |  | 100IRE | [10 empty] | 20IRE |  |  | 100IRE | [10 empty] | 20IRE |  |  | 100IRE | [10 empty] | 20IRE |  |  | 100IRE | [10 empty] | 20IRE |  |  | 100IRE
| Elapsed time |  | measured date & time | Elapsed time | x | y | Lv | x | y | Lv | u' | v' |  |  |  | Elapsed time | measured date & time | Elapsed time | x | y | Lv | x | y | Lv | u' | v' |  |  |  | Elapsed time | measured date & time | Elapsed time | x | y | Lv | x | y | Lv | u' | v' |  |  |  | Elapsed time | measured date & time | Elapsed time | x | y | Lv | x | y | Lv | u' | v' |  |  |  | Elapsed time | measured date & time | Elapsed time | x | y | Lv | x | y | Lv | u' | v' |  |  |  | Elapsed time | measured date & time | Elapsed time | x | y | Lv | x | y | Lv | u' | v'
| 0 |  | 2019-11-14 14:19 | 0Hr. | 0 | 0 | 0 | 0 | 0 | 100 | 0 | 0 |  |  |  | 0 | 2018-11-28 09:06 | 0Hr. | 0 | 0 | 0 | 0 | 0 | 100 | 0 | 0 |  |  |  | 0 | 2018-11-28 09:05 | 0Hr. | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 0 | 2017-07-21 11:00 | 0Hr. | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 0 | 2017-11-24 10:26 | 0Hr. | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 0 | 2017-11-21 13:00 | 0Hr. | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0 | 0
| 0.033333 |  | 2019-11-14 14:21 | 2min |  |  |  | -0.2928 | -0.3199 | 0 | -0.1873 | -0.46042 |  |  |  | 0.033333 | 2018-11-28 09:08 | 2min |  |  |  | -0.2954 | -0.3261 | 0 | -0.18689 | -0.46421 |  |  |  | 0.033333 | 2018-11-28 09:07 | 2min | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 0.033333 | 2017-07-21 11:02 | 2min | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 0.033333 | 2017-11-24 10:28 | 2min |  |  |  | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 0.033333 | 2017-11-21 13:02 | 2min |  |  |  | 0 | 0 | #DIV/0! | 0 | 0
| 0.083333 |  | 2019-11-14 14:24 | 5min | -0.2687 | -0.26353 | 0 | -0.0142 | -0.030833 | 115.4747 | 0.0012146 | -0.020336 |  |  |  | 0.083333 | 2018-11-28 09:11 | 5min | -0.2746 | -0.2842 | 0 | -0.0164 | -0.0391 | 115.0167 | 0.0027114 | -0.025369 |  |  |  | 0.083333 | 2018-11-28 09:10 | 5min | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 0.083333 | 2017-07-21 11:05 | 5min | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 0.083333 | 2017-11-24 10:31 | 5min |  |  |  | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 0.083333 | 2017-11-21 13:05 | 5min |  |  |  | 0 | 0 | #DIV/0! | 0 | 0
| 0.16667 |  | 2019-11-14 14:29 | 10min |  |  |  | -0.2928 | -0.3199 | 0 | -0.1873 | -0.46042 |  |  |  | 0.16667 | 2018-11-28 09:16 | 10min |  |  |  | -0.2954 | -0.3261 | 0 | -0.18689 | -0.46421 |  |  |  | 0.16667 | 2018-11-28 09:15 | 10min | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 0.16667 | 2017-07-21 11:10 | 10min | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 0.16667 | 2017-11-24 10:36 | 10min |  |  |  | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 0.16667 | 2017-11-21 13:10 | 10min |  |  |  | 0 | 0 | #DIV/0! | 0 | 0
| 0.33333 |  | 2019-11-14 14:39 | 20min |  |  |  | -0.2928 | -0.3199 | 0 | -0.1873 | -0.46042 |  |  |  | 0.33333 | 2018-11-28 09:26 | 20min |  |  |  | -0.2954 | -0.3261 | 0 | -0.18689 | -0.46421 |  |  |  | 0.33333 | 2018-11-28 09:25 | 20min | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 0.33333 | 2017-07-21 11:20 | 20min | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 0.33333 | 2017-11-24 10:46 | 20min |  |  |  | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 0.33333 | 2017-11-21 13:20 | 20min |  |  |  | 0 | 0 | #DIV/0! | 0 | 0
| 0.5 |  | 2019-11-14 14:49 | 30min | 0.0099 | 0.025533 | 0 | -0.2928 | -0.3199 | 0 | -0.1873 | -0.46042 |  |  |  | 0.5 | 2018-11-28 09:36 | 30min | 0.0044 | 0.0028 | 0 | -0.2954 | -0.3261 | 0 | -0.18689 | -0.46421 |  |  |  | 0.5 | 2018-11-28 09:35 | 30min | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 0.5 | 2017-07-21 11:30 | 30min | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 0.5 | 2017-11-24 10:56 | 30min |  |  |  | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 0.5 | 2017-11-21 13:30 | 30min |  |  |  | 0 | 0 | #DIV/0! | 0 | 0
| 1 |  | 2019-11-14 15:19 | 1Hr. | -0.2661 | -0.25747 | 0 | -0.0168 | -0.0369 | 112.3126 | 0.0016156 | -0.024589 |  |  |  | 1 | 2018-11-28 10:06 | 1Hr. | -0.2722 | -0.2801 | 0 | -0.0188 | -0.0432 | 113.8671 | 0.0025091 | -0.02835 |  |  |  | 1 | 2018-11-28 10:05 | 1Hr. | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 1 | 2017-07-21 12:00 | 1Hr. | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 1 | 2017-11-24 11:26 | 1Hr. |  |  |  | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 1 | 2017-11-21 14:00 | 1Hr. |  |  |  | 0 | 0 | #DIV/0! | 0 | 0
| 2 |  | 2019-11-14 16:19 | 2Hr. | -0.2651 | -0.25647 | 0 | -0.0178 | -0.0379 | 112.4618 | 0.0012538 | -0.025384 |  |  |  | 2 | 2018-11-28 11:06 | 2Hr. | -0.2716 | -0.2792 | 0 | -0.0194 | -0.0441 | 113.9657 | 0.0024094 | -0.029021 |  |  |  | 2 | 2018-11-28 11:05 | 2Hr. | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 2 | 2017-07-21 13:00 | 2Hr. | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 2 | 2017-11-24 12:26 | 2Hr. |  |  |  | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 2 | 2017-11-21 15:00 | 2Hr. |  |  |  | 0 | 0 | #DIV/0! | 0 | 0
| 4 |  | 2019-11-14 18:19 | 4Hr. | -0.2651 | -0.25547 | 0 | -0.0178 | -0.0389 | 112.6109 | 0.0016424 | -0.026033 |  |  |  | 4 | 2018-11-28 13:06 | 4Hr. | -0.2716 | -0.2782 | 0 | -0.0194 | -0.0451 | 113.9657 | 0.0027997 | -0.029671 |  |  |  | 4 | 2018-11-28 13:05 | 4Hr. | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 4 | 2017-07-21 15:00 | 4Hr. | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 4 | 2017-11-24 14:26 | 4Hr. |  |  |  | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 4 | 2017-11-21 17:00 | 4Hr. |  |  |  | 0 | 0 | #DIV/0! | 0 | 0
| 8 |  | 2019-11-14 22:19 | 8Hr. | [6 empty] | 0.0012793 | -0.026835 |  |  |  | 8 | 2018-11-28 17:06 | 8Hr. |  |  |  | -0.0204 | -0.0461 | 113.9657 | 0.0024377 | -0.030472 |  |  |  | 8 | 2018-11-28 17:05 | 8Hr. | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 8 | 2017-07-21 19:00 | 8Hr. | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 8 | 2017-11-24 18:26 | 8Hr. |  |  |  | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 8 | 2017-11-21 21:00 | 8Hr. |  |  |  | 0 | 0 | #DIV/0! | 0 | 0
| 12 |  | 2019-11-15 02:19 | 12Hr. | [6 empty] | 0.0016694 | -0.027489 |  |  |  | 12 | 2018-11-28 21:06 | 12Hr. |  |  |  | -0.0204 | -0.0461 | 114.5663 | 0.0024377 | -0.030472 |  |  |  | 12 | 2018-11-28 21:05 | 12Hr. | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 12 | 2017-07-21 23:00 | 12Hr. | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 12 | 2017-11-24 22:26 | 12Hr. |  |  |  | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 12 | 2017-11-22 01:00 | 12Hr. |  |  |  | 0 | 0 | #DIV/0! | 0 | 0
| 24 |  | 2019-11-15 14:19 | 24Hr. | -0.2631 | -0.25247 | 0 | -0.0198 | -0.0419 | 112.7601 | 0.0013049 | -0.028296 |  |  |  | 24 | 2018-11-29 09:06 | 24Hr. | -0.2696 | -0.2752 | 0 | -0.0214 | -0.0481 | 114.4161 | 0.0024662 | -0.031933 |  |  |  | 24 | 2018-11-29 09:05 | 24Hr. | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 24 | 2017-07-22 11:00 | 24Hr. | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 36.5 | 2017-11-25 22:56 | 36.5Hr. |  |  |  | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 24 | 2017-11-22 13:00 | 24Hr. |  |  |  | 0 | 0 | #DIV/0! | 0 | 0
| 48 |  | 2019-11-16 14:19 | 48Hr. | 0.0159 | 0.035533 | 100.3082 | -0.0198 | -0.0429 | 112.7601 | 0.0016966 | -0.028956 |  |  |  | 48 | 2018-11-30 09:06 | 48Hr. | 0.0174 | 0.0208 | 149.2308 | -0.0224 | -0.0491 | 114.5663 | 0.0021017 | -0.032742 |  |  |  | 48 | 2018-11-30 09:05 | 48Hr. | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 48 | 2017-07-23 11:00 | 48Hr. | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 48 | 2017-11-26 10:26 | 48Hr. | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 48 | 2017-11-23 13:00 | 48Hr. | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0
| 72 |  | 2019-11-17 14:19 | 72Hr. | [6 empty] | 0.00093919 | -0.029105 |  |  |  | 72 | 2018-12-01 09:06 | 72Hr. |  |  |  | -0.0224 | -0.0491 | 114.5663 | 0.0021017 | -0.032742 |  |  |  | 72 | 2018-12-01 09:05 | 72Hr. | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 72 | 2017-07-24 11:00 | 72Hr. | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 72 | 2017-11-27 10:26 | 72Hr. |  |  |  | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 72 | 2017-11-24 13:00 | 72Hr. |  |  |  | 0 | 0 | #DIV/0! | 0 | 0
| 100 |  | 2019-11-18 18:19 | 100Hr. | [6 empty] | 0.0013308 | -0.029768 |  |  |  | 100 | 2018-12-02 13:06 | 100Hr. |  |  |  | -0.0224 | -0.0491 | 115.1669 | 0.0021017 | -0.032742 |  |  |  | 100 | 2018-12-02 13:05 | 100Hr. | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 100 | 2017-07-25 15:00 | 100Hr. | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 100 | 2017-11-28 14:26 | 100Hr. |  |  |  | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 100 | 2017-11-25 17:00 | 100Hr. |  |  |  | 0 | 0 | #DIV/0! | 0 | 0
| 168 |  | 2019-11-21 14:19 | 168Hr. | -0.2621 | -0.25047 | 0 | -0.0208 | -0.0439 | 113.8042 | 0.0013308 | -0.029768 |  |  |  | 168 | 2018-12-05 09:06 | 168Hr. | -0.2676 | -0.2732 | 0 | -0.0234 | -0.0501 | 114.7164 | 0.0017359 | -0.033555 |  |  |  | 168 | 2018-12-05 09:05 | 168Hr. | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 168 | 2017-07-28 11:00 | 168Hr. | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 168 | 2017-12-01 10:26 | 168Hr. |  |  |  | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 140 | 2017-11-27 09:00 | 140Hr. |  |  |  | 0 | 0 | #DIV/0! | 0 | 0
| 196 |  | 2019-11-22 18:19 | 196Hr. | -0.2621 | -0.24947 | 0 | -0.0208 | -0.0449 | 113.2075 | 0.001724 | -0.030434 |  |  |  | 196 | 2018-12-06 13:06 | 196Hr. | -0.2681 | -0.2729 | 0 | -0.0229 | -0.0504 | 114.8386 | 0.0022334 | -0.03368 |  |  |  | 200 | 2018-12-06 17:05 | 200Hr. | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 200 | 2017-07-29 19:00 | 200Hr. | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 200 | 2017-12-02 18:26 | 200Hr. |  |  |  | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 200 | 2017-11-29 21:00 | 200Hr. |  |  |  | 0 | 0 | #DIV/0! | 0 | 0
| 216 |  | 2019-11-23 14:19 | 216Hr. | -0.2611 | -0.24947 | 0 | -0.0218 | -0.0449 | 113.5059 | 0.00096371 | -0.030584 |  |  |  | 216 | 2018-12-07 09:06 | 216Hr. | -0.2676 | -0.2732 | 0 | -0.0234 | -0.0501 | 114.8666 | 0.0017359 | -0.033555 |  |  |  | 250 | 2018-12-08 19:05 | 250Hr. | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 250 | 2017-07-31 21:00 | 250Hr. | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 250 | 2017-12-04 20:26 | 250Hr. |  |  |  | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 250 | 2017-12-01 23:00 | 250Hr. |  |  |  | 0 | 0 | #DIV/0! | 0 | 0
| 264 |  | 2019-11-25 14:19 | 264Hr. | -0.2614 | -0.24967 | 0 | -0.0215 | -0.0447 | 114.1348 | 0.0011132 | -0.030405 |  |  |  | 264 | 2018-12-09 09:06 | 264Hr. | -0.2686 | -0.2732 | 0 | -0.0224 | -0.0501 | 116.218 | 0.002495 | -0.033405 |  |  |  | 300 | 2018-12-10 21:05 | 300Hr. | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 300 | 2017-08-02 23:00 | 300Hr. | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 300 | 2017-12-06 22:26 | 300Hr. |  |  |  | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 300 | 2017-12-04 01:00 | 300Hr. |  |  |  | 0 | 0 | #DIV/0! | 0 | 0
| 300 |  | 2019-11-27 02:19 | 300Hr. | -0.2614 | -0.24967 | 0 | -0.0215 | -0.0447 | 113.9369 | 0.0011132 | -0.030405 |  |  |  | 300 | 2018-12-10 21:06 | 300Hr. | -0.2677 | -0.2725 | 0 | -0.0233 | -0.0508 | 115.4337 | 0.002087 | -0.034006 |  |  |  | 400 | 2018-12-15 01:05 | 400Hr. | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 400 | 2017-08-07 03:00 | 400Hr. | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 400 | 2017-12-11 02:26 | 400Hr. |  |  |  | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 400 | 2017-12-08 05:00 | 400Hr. |  |  |  | 0 | 0 | #DIV/0! | 0 | 0
| 336 |  | 2019-11-28 14:19 | 336Hr. | 0.0099 | 0.025533 | 0 | -0.2928 | -0.3199 | 0 | -0.1873 | -0.46042 |  |  |  | 336 | 2018-12-12 09:06 | 336Hr. | 0.0044 | 0.0028 | 0 | -0.2954 | -0.3261 | 0 | -0.18689 | -0.46421 |  |  |  | 500 | 2018-12-19 05:05 | 500Hr. | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 500 | 2017-08-11 07:00 | 500Hr. | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 500 | 2017-12-15 06:26 | 500Hr. |  |  |  | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 500 | 2017-12-12 09:00 | 500Hr. |  |  |  | 0 | 0 | #DIV/0! | 0 | 0
| 408 |  | 2019-12-01 14:19 | 408Hr. | 0.0099 | 0.025533 | 0 | -0.2928 | -0.3199 | 0 | -0.1873 | -0.46042 |  |  |  | 408 | 2018-12-15 09:06 | 408Hr. | 0.0044 | 0.0028 | 0 | -0.2954 | -0.3261 | 0 | -0.18689 | -0.46421 |  |  |  | 700 | 2018-12-27 13:05 | 700Hr. | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 700 | 2017-08-19 15:00 | 700Hr. | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 700 | 2017-12-23 14:26 | 700Hr. |  |  |  | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 700 | 2017-12-20 17:00 | 700Hr. |  |  |  | 0 | 0 | #DIV/0! | 0 | 0
| 504 |  | 2019-12-05 14:19 | 504Hr. | 0.0099 | 0.025533 | 0 | -0.2928 | -0.3199 | 0 | -0.1873 | -0.46042 |  |  |  | 504 | 2018-12-19 09:06 | 504Hr. | 0.0044 | 0.0028 | 0 | -0.2954 | -0.3261 | 0 | -0.18689 | -0.46421 |  |  |  | 1000 | 2019-01-09 01:05 | 1000Hr. | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 1000 | 2017-09-01 03:00 | 1000Hr. | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 1000 | 2018-01-05 02:26 | 1000Hr. |  |  |  | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 1000 | 2018-01-02 05:00 | 1000Hr. |  |  |  | 0 | 0 | #DIV/0! | 0 | 0
| 600 |  | 2019-12-09 14:19 | 600Hr. |  |  |  | -0.2928 | -0.3199 | 0 | -0.1873 | -0.46042 |  |  |  | 600 | 2018-12-23 09:06 | 600Hr. |  |  |  | -0.2954 | -0.3261 | 0 | -0.18689 | -0.46421 |  |  |  | 1500 | 2019-01-29 21:05 | 1500Hr. |  |  |  | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 1500 | 2017-09-21 23:00 | 1500Hr. |  |  |  | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 1500 | 2018-01-25 22:26 | 1500Hr. |  |  |  | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 1500 | 2018-01-23 01:00 | 1500Hr. |  |  |  | 0 | 0 | #DIV/0! | 0 | 0
| 720 |  | 2019-12-14 14:19 | 720Hr. |  |  |  | -0.2928 | -0.3199 | 0 | -0.1873 | -0.46042 |  |  |  | 720 | 2018-12-28 09:06 | 720Hr. |  |  |  | -0.2954 | -0.3261 | 0 | -0.18689 | -0.46421 |  |  |  | 2000 | 2019-02-19 17:05 | 2000Hr. |  |  |  | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 2000 | 2017-10-12 19:00 | 2000Hr. |  |  |  | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 2000 | 2018-02-15 18:26 | 2000Hr. |  |  |  | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 2000 | 2018-02-12 21:00 | 2000Hr. |  |  |  | 0 | 0 | #DIV/0! | 0 | 0
| 792 |  | 2019-12-17 14:19 | 792Hr. |  |  |  | -0.2928 | -0.3199 | 0 | -0.1873 | -0.46042 |  |  |  | 792 | 2018-12-31 09:06 | 792Hr. |  |  |  | -0.2954 | -0.3261 | 0 | -0.18689 | -0.46421 |  |  |  | 2500 | 2019-03-12 13:05 | 2500Hr. |  |  |  | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 2500 | 2017-11-02 15:00 | 2500Hr. |  |  |  | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 2500 | 2018-03-08 14:26 | 2500Hr. |  |  |  | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 2500 | 2018-03-05 17:00 | 2500Hr. |  |  |  | 0 | 0 | #DIV/0! | 0 | 0
| 840 |  | 2019-12-19 14:19 | 840Hr. |  |  |  | -0.2928 | -0.3199 | 0 | -0.1873 | -0.46042 |  |  |  | 840 | 2019-01-02 09:06 | 840Hr. |  |  |  | -0.2954 | -0.3261 | 0 | -0.18689 | -0.46421 |  |  |  | 3000 | 2019-04-02 09:05 | 3000Hr. |  |  |  | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 3000 | 2017-11-23 11:00 | 3000Hr. |  |  |  | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 3000 | 2018-03-29 10:26 | 3000Hr. |  |  |  | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 3000 | 2018-03-26 13:00 | 3000Hr. |  |  |  | 0 | 0 | #DIV/0! | 0 | 0
| 912 |  | 2019-12-22 14:19 | 912Hr. |  |  |  | -0.2928 | -0.3199 | 0 | -0.1873 | -0.46042 |  |  |  | 912 | 2019-01-05 09:06 | 912Hr. |  |  |  | -0.2954 | -0.3261 | 0 | -0.18689 | -0.46421 |  |  |  | 4000 | 2019-05-14 01:05 | 4000Hr. |  |  |  | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 4000 | 2018-01-04 03:00 | 4000Hr. |  |  |  | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 4000 | 2018-05-10 02:26 | 4000Hr. |  |  |  | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 4000 | 2018-05-07 05:00 | 4000Hr. |  |  |  | 0 | 0 | #DIV/0! | 0 | 0
| 5000 |  | 2020-06-09 22:19 | 5000Hr. |  |  |  | -0.2928 | -0.3199 | 0 | -0.1873 | -0.46042 |  |  |  | 5000 | 2019-06-24 17:06 | 5000Hr. |  |  |  | -0.2954 | -0.3261 | 0 | -0.18689 | -0.46421 |  |  |  | 5000 | 2019-06-24 17:05 | 5000Hr. |  |  |  | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 5000 | 2018-02-14 19:00 | 5000Hr. |  |  |  | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 5000 | 2018-06-20 18:26 | 5000Hr. |  |  |  | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 5000 | 2018-06-17 21:00 | 5000Hr. |  |  |  | 0 | 0 | #DIV/0! | 0 | 0
| 7000 |  | 2020-09-01 06:19 | 7000Hr. |  |  |  | -0.2928 | -0.3199 | 0 | -0.1873 | -0.46042 |  |  |  | 7000 | 2019-09-16 01:06 | 7000Hr. |  |  |  | -0.2954 | -0.3261 | 0 | -0.18689 | -0.46421 |  |  |  | 7000 | 2019-09-16 01:05 | 7000Hr. |  |  |  | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 7000 | 2018-05-09 03:00 | 7000Hr. |  |  |  | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 7000 | 2018-09-12 02:26 | 7000Hr. |  |  |  | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 7000 | 2018-09-09 05:00 | 7000Hr. |  |  |  | 0 | 0 | #DIV/0! | 0 | 0
| 10000 |  | 2021-01-04 06:19 | 10000Hr. |  |  |  | -0.2928 | -0.3199 | 0 | -0.1873 | -0.46042 |  |  |  | 10000 | 2020-01-19 01:06 | 10000Hr. |  |  |  | -0.2954 | -0.3261 | 0 | -0.18689 | -0.46421 |  |  |  | 10000 | 2020-01-19 01:05 | 10000Hr. |  |  |  | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 10000 | 2018-09-11 03:00 | 10000Hr. |  |  |  | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 10000 | 2019-01-15 02:26 | 10000Hr. |  |  |  | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 10000 | 2019-01-12 05:00 | 10000Hr. |  |  |  | 0 | 0 | #DIV/0! | 0 | 0
| 15000 |  | 2021-07-31 14:19 | 15000Hr. |  |  |  | -0.2928 | -0.3199 | 0 | -0.1873 | -0.46042 |  |  |  | 15000 | 2020-08-14 09:06 | 15000Hr. |  |  |  | -0.2954 | -0.3261 | 0 | -0.18689 | -0.46421 |  |  |  | 15000 | 2020-08-14 09:05 | 15000Hr. |  |  |  | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 15000 | 2019-04-07 11:00 | 15000Hr. |  |  |  | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 15000 | 2019-08-11 10:26 | 15000Hr. |  |  |  | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 15000 | 2019-08-08 13:00 | 15000Hr. |  |  |  | 0 | 0 | #DIV/0! | 0 | 0
| 20000 |  | 2022-02-24 22:19 | 20000Hr. |  |  |  | -0.2928 | -0.3199 | 0 | -0.1873 | -0.46042 |  |  |  | 20000 | 2021-03-10 17:06 | 20000Hr. |  |  |  | -0.2954 | -0.3261 | 0 | -0.18689 | -0.46421 |  |  |  | 20000 | 2021-03-10 17:05 | 20000Hr. |  |  |  | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 20000 | 2019-11-01 19:00 | 20000Hr. |  |  |  | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 20000 | 2020-03-06 18:26 | 20000Hr. |  |  |  | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 20000 | 2020-03-03 21:00 | 20000Hr. |  |  |  | 0 | 0 | #DIV/0! | 0 | 0
| 25000 |  | 2022-09-21 06:19 | 25000Hr. |  |  |  | -0.2928 | -0.3199 | 0 | -0.1873 | -0.46042 |  |  |  | 25000 | 2021-10-05 01:06 | 25000Hr. |  |  |  | -0.2954 | -0.3261 | 0 | -0.18689 | -0.46421 |  |  |  | 25000 | 2021-10-05 01:05 | 25000Hr. |  |  |  | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 25000 | 2020-05-28 03:00 | 25000Hr. |  |  |  | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 25000 | 2020-10-01 02:26 | 25000Hr. |  |  |  | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 25000 | 2020-09-28 05:00 | 25000Hr. |  |  |  | 0 | 0 | #DIV/0! | 0 | 0
| 30000 |  | 2023-04-17 14:19 | 30000Hr. |  |  |  | -0.2928 | -0.3199 | 0 | -0.1873 | -0.46042 |  |  |  | 30000 | 2022-05-01 09:06 | 30000Hr. |  |  |  | -0.2954 | -0.3261 | 0 | -0.18689 | -0.46421 |  |  |  | 30000 | 2022-05-01 09:05 | 30000Hr. |  |  |  | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 30000 | 2020-12-22 11:00 | 30000Hr. |  |  |  | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 30000 | 2021-04-27 10:26 | 30000Hr. |  |  |  | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 30000 | 2021-04-24 13:00 | 30000Hr. |  |  |  | 0 | 0 | #DIV/0! | 0 | 0
| 40000 |  | 2024-06-07 06:19 | 40000Hr. |  |  |  | -0.2928 | -0.3199 | 0 | -0.1873 | -0.46042 |  |  |  | 40000 | 2023-06-22 01:06 | 40000Hr. |  |  |  | -0.2954 | -0.3261 | 0 | -0.18689 | -0.46421 |  |  |  | 40000 | 2023-06-22 01:05 | 40000Hr. |  |  |  | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 40000 | 2022-02-12 03:00 | 40000Hr. |  |  |  | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 40000 | 2022-06-18 02:26 | 40000Hr. |  |  |  | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 40000 | 2022-06-15 05:00 | 40000Hr. |  |  |  | 0 | 0 | #DIV/0! | 0 | 0
| 50000 |  | 2025-07-28 22:19 | 50000Hr. |  |  |  | -0.2928 | -0.3199 | 0 | -0.1873 | -0.46042 |  |  |  | 50000 | 2024-08-11 17:06 | 50000Hr. |  |  |  | -0.2954 | -0.3261 | 0 | -0.18689 | -0.46421 |  |  |  | 50000 | 2024-08-11 17:05 | 50000Hr. |  |  |  | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 50000 | 2023-04-04 19:00 | 50000Hr. |  |  |  | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 50000 | 2023-08-08 18:26 | 50000Hr. |  |  |  | 0 | 0 | #DIV/0! | 0 | 0 |  |  |  | 50000 | 2023-08-05 21:00 | 50000Hr. |  |  |  | 0 | 0 | #DIV/0! | 0 | 0
| 2H後基準変化量 |  |  | 0 | [11 empty] | 2H後基準変化量 |  | 0 | [11 empty] | 2H後基準変化量 |  | 0 | [11 empty] | 2H後基準変化量 |  | 0 | [11 empty] | 2H後基準変化量 |  | 0 | [11 empty] | 2H後基準変化量 |  | 0
| Variation based on 2h | [10 empty] | HTOLのドリフト規格 ■100IRE, 500h判断 |  |  |  | Variation based on 2h | [13 empty] | Variation based on 2h | [13 empty] | Variation based on 2h | [13 empty] | Variation based on 2h | [13 empty] | Variation based on 2h
[5 empty] | 20IRE |  |  | 100IRE |  |  |  | Cx≦0.01、Cy≦0.015、Lv≧87% | [6 empty] | 20IRE |  |  | 100IRE | [10 empty] | 20IRE |  |  | 100IRE | [10 empty] | 20IRE |  |  | 100IRE | [10 empty] | 20IRE |  |  | 100IRE | [10 empty] | 20IRE |  |  | 100IRE
| Elapsed time |  | measured date & time | Elapsed time | x | y | Lv | x | y | Lv |  | Lv Guide Line for Graph | Wx Guide Line for Graph |  | Wy Guide Line for Graph | Elapsed time | measured date & time |  | x | y | Lv | x | y | Lv | [5 empty] | Elapsed time | measured date & time | Elapsed time | x | y | Lv | x | y | Lv | [5 empty] | Elapsed time | measured date & time | Elapsed time | x | y | Lv | x | y | Lv | [5 empty] | Elapsed time | measured date & time | Elapsed time | x | y | Lv | x | y | Lv | [5 empty] | Elapsed time | measured date & time | Elapsed time | x | y | Lv | x | y | Lv
| 0 |  | 2019-11-14 14:19 | 0Hr. | [7 empty] | 87 | -0.01 |  | -0.015 | 0 | 2018-11-28 09:06 | 0Hr. | [11 empty] | 0 | 2018-11-28 09:05 | 0Hr. | [11 empty] | 0 | 2017-07-21 11:00 | 0Hr. | [11 empty] | 0 | 2017-11-24 10:26 | 0Hr. | [11 empty] | 0 | 2017-11-21 13:00 | 0Hr.
| 0.083333 |  | 2019-11-14 14:24 | 5min | [7 empty] | 87 | -0.01 |  | -0.015 | 0.083333 | 2018-11-28 09:11 | 5min | [11 empty] | 0.083333 | 2018-11-28 09:10 | 5min | [11 empty] | 0.083333 | 2017-07-21 11:05 | 5min | [11 empty] | 0.083333 | 2017-11-24 10:31 | 5min | [11 empty] | 0.083333 | 2017-11-21 13:05 | 5min
| 1 |  | 2019-11-14 15:19 | 1Hr. | [7 empty] | 87 | -0.01 |  | -0.015 | 1 | 2018-11-28 10:06 | 1Hr. | [11 empty] | 1 | 2018-11-28 10:05 | 1Hr. | [11 empty] | 1 | 2017-07-21 12:00 | 1Hr. | [11 empty] | 1 | 2017-11-24 11:26 | 1Hr. | [11 empty] | 1 | 2017-11-21 14:00 | 1Hr.
| 2 |  | 2019-11-14 16:19 | 2Hr. |  |  |  | 0 | 0 | 100 |  | 87 | -0.01 |  | -0.015 | 2 | 2018-11-28 11:06 | 2Hr. |  |  |  | 0 | 0 | 100 | [5 empty] | 2 | 2018-11-28 11:05 | 2Hr. |  |  |  | 0 | 0 | #DIV/0! | [5 empty] | 2 | 2017-07-21 13:00 | 2Hr. |  |  |  | 0 | 0 | #DIV/0! | [5 empty] | 2 | 2017-11-24 12:26 | 2Hr. |  |  |  | 0 | 0 | #DIV/0! | [5 empty] | 2 | 2017-11-21 15:00 | 2Hr. |  |  |  | 0 | 0 | #DIV/0!
| 4 |  | 2019-11-14 18:19 | 4Hr. |  |  |  | 0 | -0.001 | 100.1326 |  | 87 | -0.01 |  | -0.015 | 4 | 2018-11-28 13:06 | 4Hr. |  |  |  | 0 | -0.001 | 100 | [5 empty] | 4 | 2018-11-28 13:05 | 4Hr. |  |  |  | 0 | 0 | #DIV/0! | [5 empty] | 4 | 2017-07-21 15:00 | 4Hr. |  |  |  | 0 | 0 | #DIV/0! | [5 empty] | 4 | 2017-11-24 14:26 | 4Hr. |  |  |  | 0 | 0 | #DIV/0! | [5 empty] | 4 | 2017-11-21 17:00 | 4Hr. |  |  |  | 0 | 0 | #DIV/0!
| 8 |  | 2019-11-14 22:19 | 8Hr. |  |  |  | -0.001 | -0.002 | 99.8674 |  | 87 | -0.01 |  | -0.015 | 8 | 2018-11-28 17:06 | 8Hr. |  |  |  | -0.001 | -0.002 | 100 | [5 empty] | 8 | 2018-11-28 17:05 | 8Hr. |  |  |  | 0 | 0 | #DIV/0! | [5 empty] | 8 | 2017-07-21 19:00 | 8Hr. |  |  |  | 0 | 0 | #DIV/0! | [5 empty] | 8 | 2017-11-24 18:26 | 8Hr. |  |  |  | 0 | 0 | #DIV/0! | [5 empty] | 8 | 2017-11-21 21:00 | 8Hr. |  |  |  | 0 | 0 | #DIV/0!
| 12 |  | 2019-11-15 02:19 | 12Hr. |  |  |  | -0.001 | -0.003 | 100.5305 |  | 87 | -0.01 |  | -0.015 | 12 | 2018-11-28 21:06 | 12Hr. |  |  |  | -0.001 | -0.002 | 100.527 | [5 empty] | 12 | 2018-11-28 21:05 | 12Hr. |  |  |  | 0 | 0 | #DIV/0! | [5 empty] | 12 | 2017-07-21 23:00 | 12Hr. |  |  |  | 0 | 0 | #DIV/0! | [5 empty] | 12 | 2017-11-24 22:26 | 12Hr. |  |  |  | 0 | 0 | #DIV/0! | [5 empty] | 12 | 2017-11-22 01:00 | 12Hr. |  |  |  | 0 | 0 | #DIV/0!
| 24 |  | 2019-11-15 14:19 | 24Hr. |  |  |  | -0.002 | -0.004 | 100.2653 |  | 87 | -0.01 |  | -0.015 | 24 | 2018-11-29 09:06 | 24Hr. |  |  |  | -0.002 | -0.004 | 100.3953 | [5 empty] | 24 | 2018-11-29 09:05 | 24Hr. |  |  |  | 0 | 0 | #DIV/0! | [5 empty] | 24 | 2017-07-22 11:00 | 24Hr. |  |  |  | 0 | 0 | #DIV/0! | [5 empty] | 36.5 | 2017-11-25 22:56 | 24Hr. |  |  |  | 0 | 0 | #DIV/0! | [5 empty] | 24 | 2017-11-22 13:00 | 24Hr. |  |  |  | 0 | 0 | #DIV/0!
| 48 |  | 2019-11-16 14:19 | 48Hr. |  |  |  | -0.002 | -0.005 | 100.2653 |  | 87 | -0.01 |  | -0.015 | 48 | 2018-11-30 09:06 | 48Hr. |  |  |  | -0.003 | -0.005 | 100.527 | [5 empty] | 48 | 2018-11-30 09:05 | 48Hr. |  |  |  | 0 | 0 | #DIV/0! | [5 empty] | 48 | 2017-07-23 11:00 | 48Hr. |  |  |  | 0 | 0 | #DIV/0! | [5 empty] | 48 | 2017-11-26 10:26 | 48Hr. |  |  |  | 0 | 0 | #DIV/0! | [5 empty] | 48 | 2017-11-23 13:00 | 48Hr. |  |  |  | 0 | 0 | #DIV/0!
| 100 |  | 2019-11-18 18:19 | 100Hr. |  |  |  | -0.003 | -0.006 | 100.5305 |  | 87 | -0.01 |  | -0.015 | 100 | 2018-12-02 13:06 | 100Hr. |  |  |  | -0.003 | -0.005 | 101.054 | [5 empty] | 100 | 2018-12-02 13:05 | 100Hr. |  |  |  | 0 | 0 | #DIV/0! | [5 empty] | 100 | 2017-07-25 15:00 | 100Hr. |  |  |  | 0 | 0 | #DIV/0! | [5 empty] | 100 | 2017-11-28 14:26 | 100Hr. |  |  |  | 0 | 0 | #DIV/0! | [5 empty] | 100 | 2017-11-25 17:00 | 100Hr. |  |  |  | 0 | 0 | #DIV/0!
| 168 |  | 2019-11-21 14:19 | 168Hr. |  |  |  | -0.003 | -0.006 | 101.1936 |  | 87 | -0.01 |  | -0.015 | 168 | 2018-12-05 09:06 | 168Hr. |  |  |  | -0.004 | -0.006 | 100.6588 | [5 empty] | 168 | 2018-12-05 09:05 | 168Hr. |  |  |  | 0 | 0 | #DIV/0! | [5 empty] | 168 | 2017-07-28 11:00 | 168Hr. |  |  |  | 0 | 0 | #DIV/0! | [5 empty] | 168 | 2017-12-01 10:26 | 168Hr. |  |  |  | 0 | 0 | #DIV/0! | [5 empty] | 140 | 2017-11-27 09:00 | 168Hr. |  |  |  | 0 | 0 | #DIV/0!
| 196 |  | 2019-11-22 18:19 | 196Hr. |  |  |  | -0.003 | -0.007 | 100.6631 |  | 87 | -0.01 |  | -0.015 | 196 | 2018-12-06 13:06 | 196Hr. |  |  |  | -0.0035 | -0.0063 | 100.7659 | [5 empty] | 200 | 2018-12-06 17:05 | 196Hr. |  |  |  | 0 | 0 | #DIV/0! | [5 empty] | 200 | 2017-07-29 19:00 | 196Hr. |  |  |  | 0 | 0 | #DIV/0! | [5 empty] | 200 | 2017-12-02 18:26 | 196Hr. |  |  |  | 0 | 0 | #DIV/0! | [5 empty] | 200 | 2017-11-29 21:00 | 196Hr. |  |  |  | 0 | 0 | #DIV/0!
| 216 |  | 2019-11-23 14:19 | 216Hr. |  |  |  | -0.004 | -0.007 | 100.9284 |  | 87 | -0.01 |  | -0.015 | 216 | 2018-12-07 09:06 | 216Hr. |  |  |  | -0.004 | -0.006 | 100.7905 | [5 empty] | 250 | 2018-12-08 19:05 | 216Hr. |  |  |  | 0 | 0 | #DIV/0! | [5 empty] | 250 | 2017-07-31 21:00 | 216Hr. |  |  |  | 0 | 0 | #DIV/0! | [5 empty] | 250 | 2017-12-04 20:26 | 216Hr. |  |  |  | 0 | 0 | #DIV/0! | [5 empty] | 250 | 2017-12-01 23:00 | 216Hr. |  |  |  | 0 | 0 | #DIV/0!
| 264 |  | 2019-11-25 14:19 | 264Hr. |  |  |  | -0.0037 | -0.0068 | 101.4876 |  | 87 | -0.01 |  | -0.015 | 264 | 2018-12-09 09:06 | 264Hr. |  |  |  | -0.003 | -0.006 | 101.9763 | [5 empty] | 300 | 2018-12-10 21:05 | 264Hr. |  |  |  | 0 | 0 | #DIV/0! | [5 empty] | 300 | 2017-08-02 23:00 | 264Hr. |  |  |  | 0 | 0 | #DIV/0! | [5 empty] | 300 | 2017-12-06 22:26 | 264Hr. |  |  |  | 0 | 0 | #DIV/0! | [5 empty] | 300 | 2017-12-04 01:00 | 264Hr. |  |  |  | 0 | 0 | #DIV/0!
| 300 |  | 2019-11-27 02:19 | 300Hr. |  |  |  | -0.0037 | -0.0068 | 101.3117 |  | 87 | -0.01 |  | -0.015 | 300 | 2018-12-10 21:06 | 300Hr. |  |  |  | -0.0039 | -0.0067 | 101.2881 | [5 empty] | 400 | 2018-12-15 01:05 | 300Hr. |  |  |  | 0 | 0 | #DIV/0! | [5 empty] | 400 | 2017-08-07 03:00 | 300Hr. |  |  |  | 0 | 0 | #DIV/0! | [5 empty] | 400 | 2017-12-11 02:26 | 300Hr. |  |  |  | 0 | 0 | #DIV/0! | [5 empty] | 400 | 2017-12-08 05:00 | 300Hr. |  |  |  | 0 | 0 | #DIV/0!
| 336 |  | 2019-11-28 14:19 | 336Hr. |  |  |  | -0.275 | -0.282 | 0 |  | 87 | -0.01 |  | -0.015 | 336 | 2018-12-12 09:06 | 336Hr. |  |  |  | -0.276 | -0.282 | 0 | [5 empty] | 500 | 2018-12-19 05:05 | 336Hr. |  |  |  | 0 | 0 | #DIV/0! | [5 empty] | 500 | 2017-08-11 07:00 | 336Hr. |  |  |  | 0 | 0 | #DIV/0! | [5 empty] | 500 | 2017-12-15 06:26 | 336Hr. |  |  |  | 0 | 0 | #DIV/0! | [5 empty] | 500 | 2017-12-12 09:00 | 336Hr. |  |  |  | 0 | 0 | #DIV/0!
| 408 |  | 2019-12-01 14:19 | 408Hr. |  |  |  | -0.275 | -0.282 | 0 |  | 87 | -0.01 |  | -0.015 | 408 | 2018-12-15 09:06 | 408Hr. |  |  |  | -0.276 | -0.282 | 0 | [5 empty] | 700 | 2018-12-27 13:05 | 408Hr. |  |  |  | 0 | 0 | #DIV/0! | [5 empty] | 700 | 2017-08-19 15:00 | 408Hr. |  |  |  | 0 | 0 | #DIV/0! | [5 empty] | 700 | 2017-12-23 14:26 | 408Hr. |  |  |  | 0 | 0 | #DIV/0! | [5 empty] | 700 | 2017-12-20 17:00 | 408Hr. |  |  |  | 0 | 0 | #DIV/0!
| 504 |  | 2019-12-05 14:19 | 504Hr. |  |  |  | -0.275 | -0.282 | 0 |  | 87 | -0.01 |  | -0.015 | 504 | 2018-12-19 09:06 | 504Hr. |  |  |  | -0.276 | -0.282 | 0 | [5 empty] | 1000 | 2019-01-09 01:05 | 504Hr. |  |  |  | 0 | 0 | #DIV/0! | [5 empty] | 1000 | 2017-09-01 03:00 | 504Hr. |  |  |  | 0 | 0 | #DIV/0! | [5 empty] | 1000 | 2018-01-05 02:26 | 504Hr. |  |  |  | 0 | 0 | #DIV/0! | [5 empty] | 1000 | 2018-01-02 05:00 | 504Hr. |  |  |  | 0 | 0 | #DIV/0!
| 600 |  | 2019-12-09 14:19 | 600Hr. |  |  |  | -0.275 | -0.282 | 0 |  | 87 | -0.01 |  | -0.015 | 600 | 2018-12-23 09:06 | 600Hr. |  |  |  | -0.276 | -0.282 | 0 | [5 empty] | 1500 | 2019-01-29 21:05 | 600Hr. |  |  |  | 0 | 0 | #DIV/0! | [5 empty] | 1500 | 2017-09-21 23:00 | 600Hr. |  |  |  | 0 | 0 | #DIV/0! | [5 empty] | 1500 | 2018-01-25 22:26 | 600Hr. |  |  |  | 0 | 0 | #DIV/0! | [5 empty] | 1500 | 2018-01-23 01:00 | 600Hr. |  |  |  | 0 | 0 | #DIV/0!
| 720 |  | 2019-12-14 14:19 | 720Hr. |  |  |  | -0.275 | -0.282 | 0 |  | 87 | -0.01 |  | -0.015 | 720 | 2018-12-28 09:06 | 720Hr. |  |  |  | -0.276 | -0.282 | 0 | [5 empty] | 2000 | 2019-02-19 17:05 | 720Hr. |  |  |  | 0 | 0 | #DIV/0! | [5 empty] | 2000 | 2017-10-12 19:00 | 720Hr. |  |  |  | 0 | 0 | #DIV/0! | [5 empty] | 2000 | 2018-02-15 18:26 | 720Hr. |  |  |  | 0 | 0 | #DIV/0! | [5 empty] | 2000 | 2018-02-12 21:00 | 720Hr. |  |  |  | 0 | 0 | #DIV/0!
| 20000 |  | 2022-02-24 22:19 | 20000Hr. |  |  |  | -0.275 | -0.282 | 0 |  | 87 | -0.01 |  | -0.015 | 20000 | 2021-03-10 17:06 | 20000Hr. |  |  |  | -0.276 | -0.282 | 0 | [5 empty] | 20000 | 2021-03-10 17:05 | 20000Hr. |  |  |  | 0 | 0 | #DIV/0! | [5 empty] | 20000 | 2019-11-01 19:00 | 20000Hr. |  |  |  | 0 | 0 | #DIV/0! | [5 empty] | 20000 | 2020-03-06 18:26 | 20000Hr. |  |  |  | 0 | 0 | #DIV/0! | [5 empty] | 20000 | 2020-03-03 21:00 | 20000Hr. |  |  |  | 0 | 0 | #DIV/0!
| 25000 |  | 2022-09-21 06:19 | 25000Hr. |  |  |  | -0.275 | -0.282 | 0 |  | 87 | -0.01 |  | -0.015 | 25000 | 2021-10-05 01:06 | 25000Hr. |  |  |  | -0.276 | -0.282 | 0 | [5 empty] | 25000 | 2021-10-05 01:05 | 25000Hr. |  |  |  | 0 | 0 | #DIV/0! | [5 empty] | 25000 | 2020-05-28 03:00 | 25000Hr. |  |  |  | 0 | 0 | #DIV/0! | [5 empty] | 25000 | 2020-10-01 02:26 | 25000Hr. |  |  |  | 0 | 0 | #DIV/0! | [5 empty] | 25000 | 2020-09-28 05:00 | 25000Hr. |  |  |  | 0 | 0 | #DIV/0!
|  |  |  | Drift of Low Gray (20IRE) |  | for DR check sheet Calc. and PQ Gp.
| まとめ |  |  | Chroma. Drift of low Gray 0->48h 20IRE Wx, Wy<=10/1000 |  | Calculation for DR check sheet 100h 100IRE; Wx, Wy<=10/1000 (temporary) |  | Calculation for PQ Gp. 12->100h 100IRE; JND<=2 (Delta u'v'<=6/1000) (temporary) |  |  |  | Stable Elapsed time of delta Lv<=0.1%/2h till 300h |  |  |  | まとめ | [13 empty] | まとめ | [13 empty] | まとめ | [13 empty] | まとめ | [13 empty] | まとめ
| Summary |  |  | Delta x | Delta y | Delta x | Delta y | Delta u' | Delta v' | Delta u'v’ | JND | Elapsed time |  |  |  | Summary | [13 empty] | Summary | [13 empty] | Summary | [13 empty] | Summary | [13 empty] | Summary
|  |  | 0 | 0.0159 | 0.035533 | 0 | 0 | -0.00034007 | -0.0022708 | 0.0022961 | 0.68884 | 12 |  |  |  |  | 0 | [13 empty] | 0 | [13 empty] | 0 | [13 empty] | 0 | [13 empty] | 0
|  |  | 0 | 0.0174 | 0.0208 | -0.0224 | -0.0491 | -0.00033601 | -0.0022708 | 0.0022955 | 0.68865 | 12 |  |  |  |  | 0 | [13 empty] | 0 | [13 empty] | 0 | [13 empty] | 0 | [13 empty] | 0
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 | [13 empty] | 0 | [13 empty] | 0 | [13 empty] | 0 | [13 empty] | 0
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 | [13 empty] | 0 | [13 empty] | 0 | [13 empty] | 0 | [13 empty] | 0
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 | [13 empty] | 0 | [13 empty] | 0 | [13 empty] | 0 | [13 empty] | 0
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 | [13 empty] | 0 | [13 empty] | 0 | [13 empty] | 0 | [13 empty] | 0
|  |  | Average （each N=2 case) | [13 empty] | Average （each N=2 case) | [13 empty] | Average （each N=2 case) | [13 empty] | Average （each N=2 case) | [13 empty] | Average （each N=2 case) | [13 empty] | Average （each N=2 case)
|  |  | CX65_ES | 0.01665 | 0.028167 | -0.0112 | -0.02455 | -0.00033804 | -0.0022708 | 0.0022958 | 0.68874 | 12 |  |  |  |  | CU55_ES | [13 empty] | CU55_ES | [13 empty] | CU55_ES | [13 empty] | CU55_ES | [13 empty] | CU55_ES
|  |  | CX75_ES | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | CU65_ES | [13 empty] | CU65_ES | [13 empty] | CU65_ES | [13 empty] | CU65_ES | [13 empty] | CU65_ES
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | CU75_ES | [13 empty] | CU75_ES | [13 empty] | CU75_ES | [13 empty] | CU75_ES | [13 empty] | CU75_ES

## Graph
0

## Graph 3000H
0

## Graph 1000H
0

## Graph 300H
0

## Graph 100H
0

## Summary
0
まとめ | Summary | Chroma. Drift of low Gray 0->48h 20IRE Wx, Wy<=10/1000 |  | Calculation for PQ Gp. 12->100h 100IRE; JND<=2 (Delta u'v'<=6/1000) (temporary) |  | Stable Elapsed time of delta Lv<=0.1%/2h till 300h
Summary |  | Delta x | Delta y | Delta u'v’ | JND | Elapsed time
| 0 | 15.9 | 35.5333 | 2.2961 | 0.68884 | 12
| 0 | 17.4 | 20.8 | 2.2955 | 0.68865 | 12 | 不要なサンプルはこの行を選んで表示を消すこと
| 0 | 0 | 0 | 0 | 0 | 0 | If no need this sample then select these raw and disappear
| 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0
Average (each N=2 case)
| CX65_ES | 16.65 | 28.1666 | 2.2958 | 0.68874 | 12 | 不要なサンプルはこの行を選んで表示を消すこと
| CX75_ES | 0 | 0 | 0 | 0 | 0 | If no need this sample then select these raw and disappear
| 0 | 0 | 0 | 0 | 0 | 0